## Pumping station
Created on | Actual start | Actual Finish | Description | Street | District | City | Postal Code
2005-02-03 | 2005-02-25 | 2005-02-25 | Routine Activities 2 Monthly Visit | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2005-03-26 | 2005-03-26 | 2005-03-26 | SIBNSM\WTW1HL WET WELL HIGH LEVEL | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2005-03-29 | 2005-03-29 | 2005-03-29 | KJ LIFT & FIX PUMP 1 | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2005-03-29 | 2005-03-30 | 2005-03-30 | KJ LIFT & FIX PUMP 1 | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2005-03-30 | 2005-09-07 | 2005-09-14 | FIT NEW IMPELLOR ETC ON PUMP 1 | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2005-04-06 | 2005-04-06 | 2005-04-06 | WET WELL BACK UP ON & PUMP 1 TRIPPED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2005-04-07 | 2005-06-07 | 2005-06-07 | Routine Activities 2 Monthly Visit | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2005-05-01 | 2005-05-02 | 2005-05-02 | SIBNSM\WTW1BF WET WELL BACKUP FLOAT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2005-05-19 | 2005-05-19 | 2005-05-19 | PEP/MIKE PUMP 1 TRIPPED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2005-05-22 | 2005-05-22 | 2005-05-22 | SIBNSM\WTW1BF WET WELL BACKUP FLOAT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2005-05-31 | 2005-05-31 | 2005-05-31 | MIKE & PEP WET WELL BACK UP FLOAT ON | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2005-06-30 | 2005-06-30 | 2005-06-30 | PEP - WET WELL BACKUP ON - AM ALARM | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2005-07-01 | 2005-07-13 | 2005-07-13 | NRV FAILED - NEW ONE REQ ASAP | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2005-09-14 | 2005-09-14 | 2005-09-14 | SIBNSM\SPM2CN PUMP 2 CONDITION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2005-09-19 | 2005-09-19 | 2005-09-19 | P1 tripped | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2005-09-26 | 2005-09-27 | 2005-09-27 | PUMP 1 TRIPPED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2005-10-07 | 2005-11-02 | 2005-11-02 | Routine Activities 2 Monthly Visit | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2005-10-21 | 2005-12-05 | 2005-12-05 | Change Over Switch (Electrical) 48M | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2005-10-28 | 2005-12-16 | 2005-12-16 | Distribution Board 60M | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2005-10-28 | 2005-12-16 | 2005-12-16 | Isolator / Fuse Switch 60M | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2005-10-28 | 2005-12-16 | 2005-12-16 | Starter LV Motor Control Gear 60M | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2005-10-28 | 2005-12-16 | 2005-12-16 | Starter LV Motor Control Gear 60M | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2005-11-02 | 2005-11-02 | 2005-11-02 | Lift Pump 1 to unblock | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2005-11-07 | 2005-11-07 | 2005-11-07 | SIBNSM\WTW1HL WET WELL HIGH LEVEL | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2005-12-09 | 2006-01-13 | 2006-01-13 | Routine Activities 2 Monthly Visit | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2006-02-03 | 2006-02-24 | 2006-02-24 | Routine Activities 2 Monthly Visit | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2006-02-13 | 2006-02-13 | 2006-02-13 | deploy - SIBNSM\WTW1HL | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2006-03-15 | 2006-03-15 | 2006-03-15 | SIBNSM\SPM1CN PUMP 1 CONDITION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2006-03-17 | 2006-04-05 | 2006-04-05 | Routine Activities 2 Monthly Visit | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2006-05-12 | 2006-06-05 | 2006-06-05 | Routine Activities 2 Monthly Visit | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2006-07-28 | 2006-08-02 | 2006-08-02 | Routine Activities 2 Monthly Visit | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2006-07-28 | 2006-07-28 | 2006-07-28 | SIBNSM\SPM1CN PUMP 1 CONDITION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2006-10-03 | 2006-10-03 | 2006-10-03 | Alarms Check | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2006-11-17 | 2006-12-13 | 2006-12-13 | Change Over Switch (Electrical) (5Y) | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2006-11-23 | 2006-12-05 | 2007-01-26 | Routine Activities 2 Monthly Visit | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2007-01-25 | 2007-02-01 | 2007-02-06 | Routine Activities 2 Monthly Visit | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2007-03-18 | 2007-03-18 | 2007-03-18 | SIBNSM\SPM1CN PUMP 1 CONDITION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2007-03-19 | 2007-03-19 | 2007-03-19 | SIBNSM\SPM1CN PUMP 1 CONDITION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2007-03-22 | 2007-04-12 | 2007-04-12 | Routine Activities 2 Monthly Visit | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2007-03-26 | 2007-03-27 | 2007-03-27 | locked 27/03 SIBNSM\SPM1CN PUMP 1 COND | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2007-04-12 | 2007-04-13 | 2007-05-23 | Pump 1 requires work wearings | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2007-04-12 | 2007-04-12 | 2007-04-12 | SIBNSM\WTW1BF WET WELL BACKUP FLOAT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2007-04-21 | 2007-04-21 | 2007-04-21 | SIBNSM\SPM2CN PUMP 2 CONDITION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2007-05-07 | 2007-05-07 | 2007-05-08 | SIBNSM\WTW1HL WET WELL HIGH LEVEL | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2007-05-09 | 2007-05-09 | 2007-05-09 | SIBNSM\SPM2CN BOTH PUMPS TRIPPED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2007-05-24 | 2007-06-04 | 2007-06-04 | Routine Activities 2 Monthly Visit | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2007-06-05 | 2007-06-05 | 2007-06-05 | Refit impellor and wearings | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2007-06-05 | 2007-06-06 | 2007-06-12 | Replace Pump 2 | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2007-06-07 | 2007-06-08 | 2007-06-08 | PUMP 1 TRIP | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2007-06-21 | 2007-06-21 | 2007-06-21 | pump 1 | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2007-07-01 | 2007-07-01 | 2007-07-01 | SIBNSM\SPM1CN PUMP 1 & 2 CONDITION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2007-07-12 | 2007-07-30 | 2007-07-30 | Routine Activities 2 Monthly Visit | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2007-07-31 | 2007-07-31 | 2007-07-31 | SIBNSM\SPM1CN PUMP 1 CONDITION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2007-09-07 | 2007-10-02 | 2007-10-02 | Routine Activities 2 Monthly Visit | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2007-09-19 | 2007-09-19 | 2007-09-19 | Grounds Maintenance | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2007-10-29 | 2007-10-29 | 2007-10-29 | SIBNSM\SPM1CN PUMP 1 CONDITION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2007-11-22 | 2007-12-11 | 2007-12-11 | Routine Activities 2 Monthly Visit | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2008-03-19 | 2008-03-26 | 2008-03-26 | pump no1 blocked | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2008-03-27 | 2008-04-10 | 2008-04-10 | Routine Activities 2 Monthly Visit | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2008-03-28 | 2008-03-28 | 2008-03-28 | SIBNSM\SPM1CN PUMP 1 CONDITION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2008-03-31 | 2008-04-04 | 2008-04-07 | N/D 7/4 SIBNSM\SPM1CN PUMP 1 CONDITION** | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2008-04-14 | 2008-04-14 | 2008-04-14 | SIBNSM\SPM1CN PUMP 1 CONDITION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2008-05-01 | 2008-05-01 | 2008-05-01 | SIBNSM\SPM1CN PUMP 1 CONDITION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2008-05-02 | 2008-06-16 | 2008-06-16 | Site Risk Access & Safety Insp / 2Yr | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2008-05-06 | 2008-05-06 | 2008-05-07 | SIBNSM\SPM1CN PUMP 1 CONDITION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2008-05-19 | 2008-05-20 | 2008-05-21 | SIBNSM\WTW1SF WET WELL ULTRASONIC FAULT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2008-05-21 | 2008-05-27 | 2008-06-16 | See long text | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2008-05-22 | 2008-06-11 | 2008-06-11 | Routine Activities 2 Monthly Visit | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2008-07-01 | 2008-07-01 | 2008-07-01 | cut grass on 1st july | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2008-07-07 | 2008-07-11 | 2009-04-08 | Milltronics still defective, Pumps work | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2008-07-07 | 2008-07-07 | 2008-07-07 | SIBNSM\WTW1SF WET WELL ULTRASONIC FAULT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2008-07-21 | 2008-07-22 | 2008-07-22 | SIBNSM\WTW1SF WET WELL ULTRASONIC FAULT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2008-07-22 | 2008-07-25 | 2008-07-25 | LIFT AND UN-BLOCK PUMP 1 | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2008-07-22 | 2008-07-22 | 2008-07-23 | Pump keeps running on* | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2008-07-22 | 2008-07-23 | 2008-07-23 | ultra sonic head not reading | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2008-07-23 | 2008-07-23 | 2008-07-23 | SIBNSM\WTW1SF WET WELL ULTRASONIC FAULT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2008-07-24 | 2008-08-06 | 2008-08-06 | Routine Activities 2 Monthly Visit | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2008-07-25 | 2008-07-28 | 2008-09-04 | left on top no blockage | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2008-07-28 | 2008-07-28 | 2008-07-28 | SIBNSM\SPM1CN PUMP 1 CONDITION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2008-08-06 | 2008-08-11 | 2009-04-08 | pump1 | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2008-08-28 | 2008-08-28 | 2008-08-28 | SIBNSM\SPM1CN PUMP 1 CONDITION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2008-09-25 | 2008-10-27 | 2008-10-27 | Routine Activities 2 Monthly Visit | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2008-10-20 | 2008-11-22 | 2008-11-22 | PPM WetWell Clean: SIBNSM | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2009-04-07 | 2009-04-07 | 2009-04-14 | GROUNDS MAINT. - SEE TEXT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2009-04-15 | 2009-04-15 | 2009-04-15 | Investigate Pollution | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2009-04-17 | 2009-04-17 | 2009-04-17 | H&S CHECKS | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2009-04-20 | 2009-04-28 | 2009-04-28 | ROGER ROBINSON - BLUE BOX | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2009-05-12 | 2009-05-12 | 2009-05-13 | SIBNSM\WTW1HL WET WELL HIGH LEVEL | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2009-06-09 | 2009-06-19 | 2009-06-19 | check pump 1 | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2009-07-15 | 2009-07-17 | 2009-07-20 | 20/7 See long text | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2009-07-15 | 2009-07-15 | 2009-07-15 | rewire pump no 2 | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2009-07-17 | 2009-07-17 | 2009-07-17 | SIBNSM\WTW1HL WET WELL HIGH LEVEL | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2009-07-21 | 2009-07-22 | 2009-07-22 | pump1 foot on rising leg worn | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2009-07-21 | 2009-07-22 | 2009-10-12 | pump2 guide pole bracket u/s | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2009-07-21 | 2009-07-21 | 2009-07-21 | SIBNSM\WTW1BF WET WELL BACKUP FLOAT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2009-07-31 | 2009-10-13 | 2009-10-13 | Routine Activities Level A(1Yr) or B(6M) | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2009-08-23 | 2009-08-23 | 2009-08-23 | SIBNSM\WTW1HL WET WELL HIGH LEVEL | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2009-09-04 | 2009-09-08 | 2009-10-12 | guide pole on pump2 needs refixing | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2009-09-04 | 2009-09-04 | 2009-09-04 | SIBNSM\WTW1HL WET WELL HIGH LEVEL | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2009-10-06 | 2009-10-07 | 2010-01-19 | pump2 guide rail u/s | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2009-10-06 | 2009-10-06 | 2009-10-06 | SIBNSM\WTW1HL WET WELL HIGH LEVEL | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2009-10-07 | 2009-10-09 | 2009-10-09 | ASSIST STEVE YOUNGE | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2009-10-09 | 2009-10-09 | 2009-10-09 | pump no 1 keeps tripping please invest* | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2009-10-09 | 2009-10-09 | 2009-10-09 | SIBNSM\WTW1HL WET WELL HIGH LEVEL | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2009-10-30 | 2009-11-10 | 2009-11-10 | PPM WetWell Clean: SIBNSM | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2009-12-23 | 2009-12-24 | 2009-12-24 | WET WELL LEVEL HIHG | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2009-12-24 | 2009-12-24 | 2009-12-24 | SIBNSM\WTW1HL WET WELL HIGH LEVEL | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2009-12-31 | 2010-01-01 | 2010-01-01 | LKD 0101Investigate blocked rising main | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2009-12-31 | 2009-12-31 | 2010-01-04 | SIBNSM\WTW1HL WET WELL HIGH LEVEL | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2010-01-01 | 2010-01-02 | 2010-01-03 | Investigate Problem with Pump 1 | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2010-01-02 | 2010-01-03 | 2010-01-03 | Check NRV / Swap Pumps? | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2010-01-19 | 2010-01-19 | 2010-01-20 | SIBNSM\WTW1HL WET WELL HIGH LEVEL | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2010-01-20 | 2010-01-20 | 2010-01-20 | SIBNSM NO PUMPS RUNNING | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2010-04-10 | 2010-07-05 | 2010-07-29 | Site Risk Access & Safety Inspect (2Y) | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2010-05-24 | 2010-05-24 | 2010-05-25 | milltronics failure on wet well | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2010-05-24 | 2010-05-24 | 2010-05-25 | no power on site EDF ref 445676-h | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2010-05-24 | 2010-05-24 | 2010-05-24 | SIBNSM\WTW1HL WET WELL HIGH LEVEL | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2010-05-24 | 2010-05-24 | 2010-05-24 | SIBNSM\WTW1SF WET WELL ULTRASONIC FAULT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2010-07-20 | 2010-10-05 | 2010-10-05 | PPM WetWell Clean: SIBNSM | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2010-08-07 | 2010-10-21 | 2010-10-21 | Grounds Maintenance (1Y) | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2010-08-24 | 2010-08-24 | 2010-08-24 | SIBNSM\WTW1HL WET WELL HIGH LEVEL | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2010-09-24 | 2010-11-01 | 2010-11-01 | PPM WetWell Clean: SIBNSM | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2010-10-02 | 2010-10-03 | 2010-10-03 | SIBNSM\WTW1HL WET WELL HIGH LEVEL | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2010-10-04 | 2010-10-04 | 2010-10-04 | SIBNSM\SPM1CN PUMP 1 CONDITION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2010-10-05 | 2010-10-08 | 2010-10-08 | GROUNDS MAINTENANCE BY 08/10 | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2010-10-05 | 2010-10-05 | 2010-10-05 | NO PUMPS RUNNING | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2010-10-05 | 2010-10-06 | 2010-11-30 | p1 fault not blocked | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2010-10-05 | 2010-10-05 | 2010-10-05 | SIBNSM\SPM1CN PUMP 1 CONDITION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2010-10-07 | 2010-10-07 | 2010-10-07 | SIBNSM\SPM1CN PUMP 1 CONDITION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2010-10-22 | 2010-11-22 | 2011-01-19 | Starter LV Motor Control Gear (5Y) | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2010-10-22 | 2010-11-22 | 2010-12-21 | Starter LV Motor Control Gear (5Y) | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2011-08-18 | 2011-12-13 | 2012-01-24 | PPM WetWell Clean: SIBNSM | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2011-11-11 | 2011-12-20 | 2012-02-03 | Change Over Switch (Electrical) (5Y) | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2011-12-13 | 2011-12-16 | 2011-12-17 | p2 pulling high amps | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2011-12-13 | 2011-12-13 | 2011-12-13 | SIBNSM PUMPS CONTINOUS RUNNING | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2011-12-17 | 2011-12-18 | 2011-12-18 | 18.12SIBNSM\1ALTPSWETWELL HIGH/NO PUMPS | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2011-12-17 | 2011-12-17 | 2011-12-18 | Assess pollution impact 17/12 am | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2011-12-17 | 2011-12-19 | 2011-12-19 | SIBNSM\SPM1AL TPS ONE PUMP FAILED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2011-12-17 | 2011-12-18 | 2011-12-18 | SIBNSM\WTW1SH TPS WET WELL HIGH | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2011-12-18 | 2011-12-19 | 2012-01-05 | back up float u/s+timer put back in | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2011-12-18 | 2011-12-19 | 2011-12-19 | SIBNSM\WTW1SH TPS WET WELL HIGH | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2011-12-26 | 2011-12-27 | 2011-12-27 | SIBNSM\WTW1SH TPS WET WELL HIGH | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2011-12-27 | 2011-12-29 | 2011-12-29 | SIBNSM\WTW1SH TPS WET WELL HIGH | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2011-12-28 | 2011-12-28 | 2011-12-28 | SIBNSM\WTW1SH TPS WET WELL HIGH | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2011-12-29 | 2011-12-29 | 2011-12-31 | SIBNSM\WTW1SH TPS WET WELL HIGH | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2011-12-30 | 2011-12-30 | 2011-12-31 | SIBNSM\WTW1AL TPS WET WELL HIGH/NO PUMPS | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2011-12-30 | 2011-12-30 | 2011-12-30 | SIBNSM\WTW1SH TPS WET WELL HIGH | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2011-12-31 | 2012-01-02 | 2012-01-02 | SIBNSM\WTW1SH TPS WET WELL HIGH | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2012-01-03 | 2012-01-04 | 2012-01-05 | SIBNSM\WTW1AL TPS WET WELL HIGH/NO PUMPS | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2012-01-04 | 2012-01-04 | 2012-01-08 | SIBNSM\WTW1AL TPS WET WELL HIGH/NO PUMPS | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2012-01-09 | 2012-01-11 | 2012-01-11 | SIBNSM\SPM1AL TPS ONE PUMP FAILED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2012-01-11 | 2012-01-12 | 2012-01-13 | SIBNSM\SPM1AL TPS ONE PUMP FAILED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2012-01-22 | 2012-01-25 | 2012-01-25 | SIBNSM\SPM1AL TPS ONE PUMP FAILED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2012-02-20 | 2012-02-21 | 2012-02-21 | SIBNSM\SPM1AL TPS ONE PUMP FAILED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2012-02-22 | 2012-02-27 | 2012-03-13 | Pump lift | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2012-02-29 | 2012-03-08 | 2012-03-08 | PPO 08/03/12 09:00 - 16:00 | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2012-04-13 | 2012-07-31 | 2012-07-31 | Site Risk Assess & Safety Inspect (2Y) | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2012-09-07 | 2013-01-26 | 2013-05-30 | PPM WetWell Clean: SIBNSM | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2012-12-18 | 2012-12-18 | 2012-12-18 | SIBNSM\PHA1SF TPS 3 PHASE FAIL SEE HELP | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2012-12-19 | 2013-01-04 | 2013-01-04 | UNCONSENTED CSOs | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2013-02-03 | 2013-02-04 | 2013-05-20 | lift and check/unblock pump 2 | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2013-02-18 | 2013-03-14 | 2013-03-14 | Pumping Station Service (18M) | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2013-03-11 | 2013-03-14 | 2013-03-14 | SIBNSM\SPM1AL TPS ONE PUMP FAILED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2013-05-17 | 2013-08-10 | 2013-08-10 | PPM WetWell Clean: SIBNSM | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2013-05-21 | 2013-05-23 | 2013-05-24 | PPO on 24/05 0830 - 13:00 | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2013-07-24 | 2013-07-24 | 2013-07-25 | SIBNSM\WTW1SH TPS WET WELL HIGH | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2013-07-26 | 2013-08-13 | 2013-08-13 | check floats against telemetry | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2013-07-29 | 2013-07-30 | 2013-07-30 | SIBNSM\WTW1AL TPS WET WELL HIGH/NO PUMPS | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2013-07-31 | 2013-07-31 | 2013-08-01 | New float needed | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2013-09-17 | 2013-09-17 | 2013-09-20 | Possible Pollution | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2013-09-24 | 2013-09-25 | 2013-10-02 | ORT - PUMP 2 RUNNING NON STOP | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2013-10-29 | 2013-10-30 | 2013-10-30 | SIBNSM\PHA1SF TPS 3 PHASE FAIL SEE HELP | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2013-11-08 | 2014-04-12 | 2014-06-23 | PPM WetWell Clean: SIBNSM | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2014-01-26 | 2014-01-26 | 2014-01-26 | SIBNSM\PHA1SF TPS 3 PHASE FAIL $ | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2014-05-09 | 2014-10-22 | 2014-12-18 | PPM WetWell Clean: SIBNSM | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2014-07-04 | 2014-10-21 | 2014-10-21 | Pumping Station Service (18M) | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2014-10-21 | 2014-10-21 | 2014-10-21 | SIBNSM\SPM1AL TPS ONE PUMP FAILED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2014-11-06 | 2015-03-02 | 2015-03-02 | PPM WetWell Clean: SIBNSM | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2014-11-25 | 2014-11-25 | 2014-11-25 | NO SIBNSM\WTW1AL TPS WET WELL HIGH/NO PU | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2014-11-26 | 2014-11-27 | 2014-11-27 | NO SIBNSM\SPM2AL TPS BOTH PUMPS FAILED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2014-11-26 | 2014-11-26 | 2014-11-26 | NO SIBNSM\WTW1SH TPS WET WELL HIGH | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2014-11-30 | 2014-11-30 | 2014-12-02 | SIBNSM- Check Pumps are working | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2014-12-01 | 2014-12-01 | 2014-12-01 | NO SIBNSM\SPM1AL TPS ONE PUMP FAILED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2014-12-01 | 2014-12-01 | 2014-12-01 | NO SIBNSM\SPM2AL TPS BOTH PUMPS FAILED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2014-12-01 | 2014-12-01 | 2014-12-01 | NO SIBNSM\WTW1AL TPS WET WELL HIGH/NO PU | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2014-12-02 | 2014-12-03 | 2014-12-03 | [2BSS] MEET CONTRACTORS 03/12 1200 | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2014-12-02 | 2014-12-02 | 2014-12-02 | NO SIBNSM\SPM1AL TPS ONE PUMP FAILED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2015-05-08 | 2015-08-01 | 2015-08-01 | PPM WetWell Clean: SIBNSM | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2015-07-19 | 2015-07-22 | 2015-07-22 | TPS AMF ONE PUMP FAULT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2015-07-22 | 2015-07-23 | 2015-07-23 | [2BSS] Pick up Pump from site | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2015-07-23 | 2015-07-27 | 2015-08-28 | [2BSS] [Reinstall pump and milltornics r | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2015-07-23 | 2015-07-23 | 2015-07-23 | NO SIBNSM\WTW1AL TPS WET WELL HIGH/NO PU | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2015-08-03 | 2015-08-03 | 2015-08-04 | [2ASS] PUMP RUNNING ON | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2015-09-15 | 2015-09-16 | 2015-09-17 | [1CSS] ORT - INVEST. PUMP 2 TRIPPED $ | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2015-09-17 | 2015-09-18 | 2015-09-18 | [1CSS]Lift and check pump may reqire Rev | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2015-09-18 | 2015-09-21 | 2015-09-21 | TPS AMF ONE PUMP FAULT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2015-10-23 | 2017-01-24 | 2017-01-24 | [2DSS] RISING LEG REPLACEMENT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2015-11-06 | 2016-01-04 | 2016-02-19 | PPM WetWell Clean: SIBNSM | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2015-12-03 | 2015-12-03 | 2015-12-03 | WASH DOWN WET WELL | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2016-01-01 | 2016-02-26 | 2016-02-26 | Pumping Station Service (18) | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2016-04-06 | 2016-04-06 | 2016-04-06 | TPS AMF WELL HIGH NO PUMPS RUNNING | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2016-09-01 | 2016-09-01 | 2016-09-28 | [1ASS] ULTRASONIC HEAD U/S | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2016-09-02 | 2016-11-14 | 2016-11-14 | [4BHS] OUTSIDE LIGHT NOT WORKING | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2016-10-10 | 2016-10-11 | 2016-10-11 | TPS AMF ONE PUMP FAULT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2016-10-11 | 2016-10-11 | 2016-10-25 | [2ASS] LEVEL CONTROLLER | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2016-10-11 | 2016-10-11 | 2016-10-11 | PLANT MAINS SUSTAINED FAULT$ | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2016-11-07 | 2016-11-09 | 2016-11-09 | TPS AMF ONE PUMP FAULT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2016-11-23 | 2016-11-29 | 2016-11-29 | [2CSS] ORT - PUMP 1 FAILED $ | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2016-12-09 | 2017-01-02 | 2017-03-08 | [2DHS]All 4 panel door locks need replac | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2016-12-09 | 2016-12-09 | 2016-12-09 | SIBNSM PLANT MAINS SUST FAILED$ | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2017-02-23 | 2017-02-23 | 2017-02-23 | TPS AMF WELL HIGH NO PUMPS RUNNING | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2017-05-05 | 2017-06-20 | 2017-06-20 | Pumping Station Service (18m) | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2017-06-06 | 2017-06-06 | 2017-06-06 | TPS AMF WELL HIGH NO PUMPS RUNNING | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2017-06-20 | 2017-06-26 | 2017-06-26 | recover pumps | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2017-07-25 | 2017-08-07 | 2017-08-07 | [2CSS] CHECK WELL CONDITION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2017-10-30 | 2017-11-08 | 2017-11-08 | [2SSD] PUMP 1 ZERO STARTS | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2018-01-18 | 2018-01-18 | 2018-01-18 | PLANT MAINS SUSTAINED FAULT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2018-04-30 | 2018-04-30 | 2018-05-01 | [2ASS] Take genny to site | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2018-05-28 | 2018-05-28 | 2018-05-28 | EMERGENCY OVERFLOW IN OPERATION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2018-09-22 | 2018-09-22 | 2018-09-22 | EMERGENCY OVERFLOW IN OPERATION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2018-09-23 | 2018-09-23 | 2018-09-23 | EMERGENCY OVERFLOW IN OPERATION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2018-09-23 | 2018-09-25 | 2018-10-08 | TPS AMF ONE PUMP FAULT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2018-10-09 | 2018-10-09 | 2018-10-12 | TPS AMF ONE PUMP FAULT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2018-11-14 | 2018-11-14 | 2018-11-15 | EMERGENCY OVERFLOW IN OPERATION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2018-11-15 | 2018-11-16 | 2018-11-18 | [2B] P1 seems blocked | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2018-11-15 | 2018-11-16 | 2018-11-16 | [2B] replace terminal blocks in panel | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2018-11-20 | 2019-01-14 | 2019-01-14 | ISSUE SAAA 14/01/19 0800 | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2019-01-15 | 2019-01-15 | 2019-01-15 | TPS AMF ONE PUMP FAULT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2019-02-08 | 2019-02-15 | 2019-04-01 | [2C] PANEL DOOR BROKEN/OPEN | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2019-10-06 | 2019-10-06 | 2019-10-06 | EMERGENCY OVERFLOW IN OPERATION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2020-05-10 | 2020-05-10 | 2020-05-11 | EMERGENCY OVERFLOW IN OPERATION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2020-06-06 | 2020-06-06 | 2020-06-06 | EMERGENCY OVERFLOW IN OPERATION$ | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2020-08-14 | 2020-08-14 | 2020-08-16 | EMERGENCY OVERFLOW IN OPERATION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2020-09-06 | 2020-09-06 | 2020-09-09 | EMERGENCY OVERFLOW IN OPERATION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2020-09-17 | 2020-09-17 | 2021-05-05 | EMERGENCY OVERFLOW IN OPERATION$ | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2020-09-17 | 2020-09-18 | 2020-09-18 | OUTSTATION SIBNSM MAINS SUPPLY FAILED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2020-09-30 | 2020-09-30 | 2020-09-30 | SIBNSM - MIMIC TEXT UPDATE | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2020-10-21 | 2020-10-21 | 2020-10-22 | EMERGENCY OVERFLOW IN OPERATION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2020-11-15 | 2020-11-15 | 2020-11-15 | EMERGENCY OVERFLOW IN OPERATION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2020-11-15 | 2020-11-15 | 2020-11-17 | EMERGENCY OVERFLOW IN OPERATION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2020-11-17 | 2020-11-18 | 2020-11-18 | TPS WET WELL HIGH LEVEL FLOAT SUSTAINED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2020-12-04 | 2020-12-04 | 2021-05-07 | EMERGENCY OVERFLOW IN OPERATION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2020-12-11 | 2020-12-11 | 2020-12-11 | EMERGENCY OVERFLOW IN OPERATION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2020-12-22 | 2020-12-22 | 2020-12-28 | EMERGENCY OVERFLOW IN OPERATION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2020-12-24 | 2020-12-24 | 2020-12-24 | [2ASS] **Outstanding alarm, see job text | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2021-01-14 | 2021-01-14 | 2021-01-16 | EMERGENCY OVERFLOW IN OPERATION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2021-01-16 | 2021-01-17 | 2021-01-18 | EMERGENCY OVERFLOW IN OPERATION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2021-01-22 | 2021-01-23 | 2021-01-24 | EMERGENCY OVERFLOW IN OPERATION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2021-01-28 | 2021-01-29 | 2021-01-29 | EMERGENCY OVERFLOW IN OPERATION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2021-01-30 | 2021-01-30 | 2021-01-30 | EMERGENCY OVERFLOW IN OPERATION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2021-02-07 | 2021-02-07 | 2021-02-08 | EMERGENCY OVERFLOW IN OPERATION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2021-06-12 | 2021-06-12 | 2022-01-10 | EMERGENCY OVERFLOW IN OPERATION | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2021-07-21 | 2021-08-04 | 2021-08-04 | SIBNSM CHANGE POINT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2021-11-05 | 2021-11-06 | 2021-11-07 | [2BSS]site check | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2021-11-05 | 2021-11-07 | 2022-01-17 | PPO 7.11.21 0900 AND 1500 | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2021-11-08 | 2021-12-22 | 2022-04-10 | PPM Jet: Nunnery St, Castle Hedingham | Nunnery Street | CASTLE HEDINGHAM | HALSTEAD | CO9 3DP
2021-11-12 | 2021-11-25 | 2021-11-25 | PLC be checked at SIBNSM | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2021-11-16 | 2021-11-19 | 2021-11-19 | SIBNSM - Change of AMF | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2021-11-22 | 2021-11-23 | 2021-11-23 | Alarm Code Change | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2021-12-07 | 2021-12-08 | 2021-12-08 | TPS WET WELL HIGH LEVEL FLOAT SUSTAINED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2021-12-10 | 2021-12-10 | 2021-12-10 | TPS WET WELL HIGH LEVEL FLOAT SUSTAINED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2021-12-22 | 2022-01-04 | 2022-01-04 | SIBNSM POINT CHANGE | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2021-12-25 | 2021-12-25 | 2021-12-26 | TPS WET WELL HIGH LEVEL FLOAT SUSTAINED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2022-02-19 | 2022-02-21 | 2022-02-22 | PLANT MAINS SUSTAINED FAULT$ | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2022-02-21 | 2022-02-21 | 2022-02-22 | SIBNSM - COMMS FAULT - X DUE 21.02 | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2022-02-21 | 2022-02-22 | 2022-02-22 | TPS AMF WELL HIGH NO PUMPS RUNNING | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2022-08-17 | 2022-08-17 | 2022-08-17 | TPS WET WELL HIGH LEVEL FLOAT SUSTAINED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2022-08-25 | 2022-08-25 | 2022-08-25 | TPS WET WELL HIGH LEVEL FLOAT SUSTAINED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2022-10-20 | 2022-10-20 | 2022-10-20 | TPS WET WELL HIGH LEVEL FLOAT SUSTAINED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2022-10-23 | 2022-10-23 | 2022-10-24 | TPS WET WELL HIGH LEVEL FLOAT SUSTAINED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2022-11-03 | 2022-11-03 | 2022-11-03 | TPS WET WELL HIGH LEVEL FLOAT SUSTAINED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2022-11-06 | 2022-11-06 | 2022-11-06 | TPS WET WELL HIGH LEVEL FLOAT SUSTAINED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2022-11-07 | 2022-11-07 | 2022-11-07 | [2ASS] Outstanding alarm, see job text | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2022-12-19 | 2022-12-19 | 2022-12-19 | TPS WET WELL HIGH LEVEL FLOAT SUSTAINED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2022-12-22 | 2022-12-22 | 2022-12-22 | [2ASS] Outstanding alarm, see job text | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2022-12-31 | 2022-12-31 | 2023-01-01 | TPS WET WELL HIGH LEVEL FLOAT SUSTAINED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2023-01-08 | 2023-01-08 | 2023-01-08 | TPS WET WELL HIGH LEVEL FLOAT SUSTAINED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2023-03-10 | 2023-03-10 | 2023-03-13 | TPS WET WELL HIGH LEVEL FLOAT SUSTAINED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2023-03-26 | 2023-03-26 | 2023-03-26 | TPS WET WELL HIGH LEVEL FLOAT SUSTAINED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2023-04-01 | 2023-04-01 | 2023-04-01 | TPS WET WELL HIGH LEVEL FLOAT SUSTAINED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2023-05-13 | 2023-06-22 | 2023-08-11 | PPM Jet: Nunnery St, Castle Hedingham | Nunnery Street | CASTLE HEDINGHAM | HALSTEAD | CO9 3DP
2023-07-05 | 2023-08-02 | 2023-08-02 | Pumping Station Service (5yr)(OV) | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2023-07-16 | 2023-07-16 | 2023-07-16 | TPS AMF TWO PUMPS FAULT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2023-07-16 | 2023-06-21 | 2023-07-16 | TPS WET WELL HIGH LEVEL FLOAT SUSTAINED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2023-08-09 | 2023-08-09 | 2023-08-09 | Plant Mains Sustained Fault | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2023-08-09 | 2023-10-02 | 2023-10-02 | Repair leaking rising leg | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2023-08-29 | 2023-09-01 | 2023-09-04 | TPS AMF ONE PUMP FAULT slt | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2023-09-05 | 2023-09-05 | 2023-09-09 | [1CSS] REPLACE FUSES PUMP 2 | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2023-09-05 | 2023-09-06 | 2023-09-07 | TPS AMF ONE PUMP FAULT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2023-10-16 | 2024-02-05 | 2024-02-05 | [2CCO] Check E/O operation, SLT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2023-10-16 | 2023-10-16 | 2023-10-16 | TPS WET WELL HIGH LEVEL FLOAT SUSTAINED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2023-11-02 | 2023-11-02 | 2023-11-02 | TPS AMF WELL HIGH NO PUMPS RUNNING | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2023-11-08 | 2024-01-09 | 2024-01-09 | [4AHS] Lighting | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2023-11-24 | 2023-11-24 | 2023-11-24 | TPS WET WELL HIGH LEVEL FLOAT SUSTAINED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2023-11-27 | 2023-11-27 | 2023-11-27 | TPS WET WELL HIGH LEVEL FLOAT SUSTAINED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2023-11-28 | 2023-11-28 | 2023-11-28 | [2ASS] OUSTANDING ALARM SEE JOB TEXT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2023-11-29 | 2023-11-29 | 2023-11-29 | TPS AMF WELL HIGH NO PUMPS RUNNING | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2023-12-01 | 2023-12-01 | 2023-12-01 | TPS AMF WELL HIGH NO PUMPS RUNNING | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2023-12-08 | 2023-12-08 | 2024-01-31 | *PL Pumping sump out | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2023-12-12 | 2023-12-12 | 2023-12-12 | TPS WET WELL HIGH LEVEL FLOAT SUSTAINED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2023-12-19 | 2023-12-19 | 2023-12-20 | TPS WET WELL HIGH LEVEL FLOAT SUSTAINED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2024-01-24 | 2024-01-24 | 2024-01-24 | TPS WET WELL HIGH LEVEL FLOAT SUSTAINED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2024-01-31 | 2024-01-31 | 2024-01-31 | TPS AMF TWO PUMPS FAULT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2024-02-01 | 2024-02-01 | 2024-02-01 | TPS AMF TWO PUMPS FAULT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2024-02-02 | 2024-03-04 | 2024-03-04 | [2CSS] CHAIN BLOCK SLT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2024-03-01 | 2024-03-01 | 2024-03-01 | TPS WET WELL HIGH LEVEL FLOAT SUSTAINED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2024-05-21 | 2024-05-21 | 2024-05-21 | TPS WET WELL HIGH LEVEL FLOAT SUSTAINED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2024-06-24 | 2024-08-05 | 2024-08-07 | TPS AMF ONE PUMP FAULT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2024-07-05 | 2024-07-05 | 2024-07-06 | TPS WET WELL HIGH LEVEL FLOAT SUSTAINED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2024-09-10 | 2024-09-10 | 2024-09-12 | TPS WET WELL HIGH LEVEL FLOAT SUSTAINED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2024-10-17 | 2024-10-17 | 2024-10-17 | [A2SS] Ovarro alert | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2024-10-17 | 2024-10-17 | 2024-10-17 | TPS AMF WELL HIGH NO PUMPS RUNNING$ | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2024-10-18 | 2024-10-19 | 2024-10-25 | Site Check | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2024-10-18 | 2024-10-18 | 2024-10-18 | SITE CHECK 18/10 | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2024-10-18 | 2024-10-18 | 2024-10-18 | TPS AMF ONE PUMP FAULT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2024-10-19 | 2024-10-19 | 2024-10-20 | Site Check | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2024-10-25 | 2024-10-26 | 2024-10-26 | Fuel delivery tbc | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2024-10-25 | 2024-10-26 | 2024-10-28 | Site Check | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2024-10-28 | 2024-10-28 | 2024-11-04 | Site Check | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2024-11-01 | 2024-11-11 | 2025-01-16 | Re-locate HWW float 27/11 | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2024-11-05 | 2024-11-05 | 2024-11-11 | Check Pumps | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2024-11-11 | 2024-11-12 | 2024-11-18 | Check Pumps | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2024-11-11 | 2024-11-12 | 2024-11-12 | SAAA 12/11 08:30AM | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2024-11-11 | 2024-11-11 | 2024-11-11 | TPS AMF TWO PUMPS FAULT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2024-11-11 | 2024-11-11 | 2024-11-11 | TPS AMF TWO PUMPS FAULT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2024-11-16 | 2025-01-02 | 2025-02-11 | PPM Jet: Nunnery St, Castle Hedingham | Nunnery Street | CASTLE HEDINGHAM | HALSTEAD | CO9 3DP
2024-11-18 | 2024-11-19 | 2024-11-22 | Check Pumps | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2024-11-20 | 2024-11-20 | 2025-01-02 | Both duty pumps failed | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2024-11-23 | 2024-11-24 | 2024-11-26 | Pump 1 fault | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2024-12-07 | 2024-12-07 | 2024-12-07 | OUTSTATION SIBNSM MAINS SUPPLY FAILED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2025-02-17 | 2025-02-17 | 2025-02-27 | Site check 17/02 | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2025-07-19 | 2025-07-19 | 2025-07-19 | PLANT MAIN SUSTAINED FAULT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2025-07-21 | 2025-07-21 | 2025-07-21 | SIBNSM/Outstation SIBNSM Mains Supply.Fa | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2025-07-21 | 2025-07-21 | 2025-07-21 | TPS AMF TWO PUMPS FAULT | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2025-07-21 | 2025-07-21 | 2025-07-21 | TPS AMF WELL HIGH NO PUMPS RUNNING | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2025-07-21 | 2025-07-21 | 2025-07-21 | TPS WET WELL HIGH LEVEL FLOAT SUSTAINED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2025-09-19 | 2025-10-06 | 2025-10-06 | Backup Float Investigation | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2025-11-14 | 2025-11-14 | 2025-11-14 | TPS WET WELL HIGH LEVEL FLOAT SUSTAINED | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2025-12-11 | 2025-12-11 | 2025-12-12 | [A3SS] Ovarro Alert | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2026-01-29 | 2026-01-30 | 2026-01-30 | [A3SS] Ovarro Alert | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2026-02-11 | 2026-03-18 | 2026-03-18 | Adjust pump brakcet | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2026-02-25 | 2026-03-17 | 2026-03-17 | Pumping Station Service (5yr)(OV0 | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2026-03-18 | 2026-03-18 | 2026-03-22 | Investigate Ultrasonic Fault | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX
2026-03-18 |  |  | P1 impeller and wear plate | SIBLE HEDINGHAM-NUNNERY ST TPS | CASTLE HEDINGHAM | HALSTEAD | CO9 3DX

## Nunnery Street calls
Created on | Actual start | Actual Finish | Description | Notes | Street | District | City | Postal Code
2006-03-10 | 2006-03-10 | 2006-03-10 | nvestigate Internal Flooding | Inspection cover in the garage | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DP
2008-12-16 | 2008-12-17 | 2008-12-18 | Investigate Odour | Bad odour in area | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DP
2009-02-17 | 2009-02-17 | 2009-02-17 | Investigate External Flooding | Overflowing manhole | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DP
2009-02-17 | 2009-02-17 | 2009-02-17 | Investigate Full Manhole | blockage affecting 4 properties | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DP
2009-11-19 | 2009-11-20 | 2009-11-20 | Investigate Odour | Odour report | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DR
2009-12-09 | 2009-12-10 | 2009-12-10 | Investigate Odour | Odour report | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DP
2010-11-16 | 2010-11-16 | 2010-11-16 | Investigate Odour Suspected Blockage | Odour report at pumping station | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DP
2011-03-06 | 2011-03-06 | 2011-03-06 | Investigate Loss of WC Facility | Odour complaint | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DP
2011-07-16 | 2011-07-16 | 2011-07-16 | Investigate High Risk External Flooding | Overflowing manhole | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DN
2012-03-12 | 2012-03-12 | 2012-03-12 | Investigate Full Manhole | Cleared blockage using rods | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DP
2012-11-26 | 2012-11-26 | 2012-11-26 | Investigate External Flooding - Cust Esc | Blockage on private | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DR
2012-12-17 | 2012-12-18 | 2012-12-18 | Investigate Odour or Suspected Blockage | Sewer checked for blockage or odour. None found. | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DP
2013-03-01 | 2013-03-01 | 2013-03-01 | Investigate Loss of WC Facility | Pumping station ragged up with nappies. Pump 2 lifted | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DP
2014-11-19 | 2014-11-19 | 2014-12-02 | Investigate Loss of WC Facility | blockage in sewer rodded to clear. Blockage reoccured. High Power Water Jet to clear | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DW
2015-04-20 | 2015-04-21 | 2015-04-21 | Investigate Ext Flooding - High Risk Int | No flooding on arrival. Cleared blockage on 4" transferred sewer | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DN
2016-04-16 | 2016-04-16 | 2016-04-21 | Investigate Loss of WC Facility | CCTV the sewer. sewer is blocked again have cleared this using rods. When running the camera d/s i have found a rodding plunger stuck within the pipe, approx. 3 metres downstream from manhole, the camera has pushed this against the roof of the 4in pipe, thus allowing free flow past this. I have then carried on with the camera and gone underwater hitting an obstruction approx 9m d/s, this would not clear so I have then accessed the rear and cctv u/s from here, where I have located a second blockage. I have rodded this clear, once flows restored I have run the camera u/s and again d/s , to try and retrieve the plunger, I have failed to do so, but the retrieving tool has pushed this against the roof of the sewer allowing a cleaner flow. | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DW
2017-03-15 | 2017-03-15 | 2017-03-16 | Investigate Loss of WC Facility | mh in rear garden backed up, roded ds 4 rods and dropped level to benching but no further. According to customer FT attended last year and said there was plunger disc in sewer but could not remove, sent camera and found disc in sewer at 4m holding up flow. Requested 2nd man to jet/remove, we jetted/removed disc, sewer now empty/flowing, | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DW
2017-07-01 | 2017-07-01 | 2017-07-01 | Investigate Loss of WC Facility | rodded and flushed to clear unknown transferred sewer blockage. | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DW
2017-11-15 | 2017-11-16 | 2017-11-16 | Investigate Loss of WC Facility | Cleared blockage by rodding , sewer levels restored, and the sewer redlined, unknown cause of blockage, and unable to jet as rear of properties off road. | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DW
2018-03-20 | 2018-03-21 | 2018-03-21 | Investigate Loss of WC Facility | arrived on site met with customer showed me mh in back garden this was empty cctv this and found no defect or blockage on the way in i saw a tanker at the nearby pumping station this was most likely the cause of the full mh | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DW
2018-05-29 | 2018-05-31 | 2018-05-31 | REPEAT FLAG - Investigate Loss of WC Fac | Blocked drain in rear garden. Rodded MH to get partial flow but will need 2 men for jetting as blockage is under the neighbour's conservatory which has been built over HPWJ to clear blockage - cause unknown. But tested flow & confirmed restored. | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DW
2019-01-16 | 2019-01-17 | 2019-01-30 | Investigate Loss of WC Facility | Jetted from manhole to front of no xxx back upstream to clear, roots visible from chamber at xxx. Flow restored | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DP
2019-01-18 | 2019-01-18 | 2019-01-18 | Investigate Loss of WC Facility | Cleared blockage by rodding/flushing d/s from a manhole between no's xxx & xxx, shared manhole. Metrorod were at no.xxx last night, and did check the last manhole at xxx, but this was still blocked. I have lifted the cover and flushed the line [no direct vehicle access] restoring facilities. | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DP
2019-04-05 | 2019-04-05 | 2019-04-05 | Investigate Loss of WC Facility | Rodded and cleared 150mm sewer from manhole within caging in rear garden. | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DP
2019-07-10 | 2019-07-11 | 2019-07-11 | REPEAT FLAG - Investigate Loss of WC Fac | Arrived on site to find M/H empty,carried out cctv survey found buried M/H at 4.9m next M/H D/S is at 14.95 carried on to 3rd M/H at 20m and on to next M/H at 24m and sewer was clear all the way through with a few minor defects but fit for purpose, all running on departure. | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DW
2020-01-04 | 2020-01-05 | 2020-01-05 | Investigate Loss of WC Facility | Rodded and cleared from manhole on front drive. | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DP
2020-07-16 | 2020-07-17 | 2020-07-17 | Investigate Full Manhole | Cleared blockage from M/H at side of house by rodding D/S towards main, all clear and running on departure | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DP
2020-09-15 | 2020-09-15 | 2020-09-15 | Investigate Full Manhole | Main sewer block, unable to get onto road as to busy, please pass to standby after 1900 to attend and clear blockage from M/H 0701,this needs to be done tonight as can't get on the road in daytime. Jetted u/s from MH 9700 to clear blockage. Sewer running fine on departure. | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DP
2021-03-14 | 2021-03-15 | 2023-03-09 | REPEAT FLAG - Investigate Loss of WC Fac | Cleared blockage from M/H in rear garden of No xxx by rodding D/S,carried out cctv survey from M/H in rear garden of No xxx D/S towards No xxx got to 29m and couldn't pass debris, please pass to me and xxx or xxx or xxx to come back and jet clean sewer line from rear of No xxx,could we ring customer at No xxx the day before if possible so that he can give us access, sewer running clear on departure. CCTV u/s of MH to rear of no.xxx and unable to pass at approximately 9m due to squashed pipe, Surveyed 100mm dia transferred FWS upstream of MH 2700, via MH at 3m located under decking, pipe material VC 0 - 0.3m PF 0.3 - 3m PVC 3 - 5m PF from 5m, turns right at 0.1m, PF deformed and blistered, unable to pass 9m. Unable to gain access to no xxx Gained access to no xxx. Surveyed 100mm dia transferred PF FWS downstream of MH 2703, via MH 2702 at 5m and uncharted MH at 9m, pipe material PVC 6 - 6.5m VC 8.5 - 9m, PF deformed and blistered, unable to pass 14m, minor FOG. Surveyed 100mm dia transferred PF FWS upstream of MH 2702 into MH to rear of no xxx at 10m, minor deformed and blistered, minor FOG. IMR Request submitted ref rerounding and lining. | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DW
2021-08-16 | 2021-08-17 | 2021-08-17 | Investigate External Flooding | Evidence of flooding on arrival. Sewer all clear on arrival. CCTV d/s from private MH to rear of customers property and obstruction at approximately 4m. Cleared with camera. CCTV approximately 12.2m and sewer all clear. Blockage at 4m was plaster in sewer. Customer and no.xxx both having building work carried out. | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DW
2021-09-20 | 2021-09-20 | 2021-09-21 | Investigate External Flooding | hpwj d/s from mh to restore flow | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DP
2021-11-24 | 2021-11-25 | 2021-11-30 | Investigate External Flooding | Cleared blockage from M/H in rear garden of No xxx by rodding D/S blockage was in rear garden of No xxx,carried out cctv survey and found pipe is badly deformed in quite a few places IMR Request previously submitted | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DW
2021-12-29 | 2021-12-30 | 2021-12-31 | Investigate External Flooding | Mh in rear garden full, no flooding, traced across back gardens to no xxx where I am unable to gain access, next door xxx won't let me in today as got to go to work, this requires 2men, please nwwk for myself and xxx 1st job tomorrow morning to gain access, card left with customer as no numbe provided so unable to contact. Jetted u/s of MH to rear of xxx to clear blockage. | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DW
2022-02-20 | 2022-02-21 | 2022-02-21 | Investigate External Flooding | hpwj from mh in r/o xxx to restore flow | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DW
2022-03-06 | 2022-03-07 | 2022-03-07 | Investigate External Flooding | Arrived on site No.xxx found M/H rop full cust told.me it is normally.cleared further down the line so knocked on a few doors but no answer No.xxx answered and confirmed that it is always his house that they jet up from but told me he wont let me in eventually he let me check the chamber but refused to let me work from it as this is a ongoing issue and he is fed up with it so i checked M/H and found it empty i jetted D/S from No.xxx to clear then washed down the ally way to.clear the overspill | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DW
2022-05-21 | 2022-05-22 | 2022-05-22 | Investigate External Flooding | No flooding, traced blockage to mh in rear of xxx, jetted line from here to clear blockage all clear on departure | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DW
2022-11-22 | 2022-11-22 | 2022-11-22 | Investigate External Flooding | Cleared blockage from M/H in rear garden of No 35 by jetting U/S, all clear and running on departure no flooding. | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DW
2022-12-31 | 2023-01-02 | 2023-01-02 | Investigate External Flooding | Jetted u/s from cover in rear of no xxx towards no xxx. Customers now clear | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DW
2023-01-14 | 2023-01-14 | 2023-01-20 | Investigate External Flooding | No flooding on arrival. Rodded u/s of MH 1704 to rear of no.xxx approximately 4m to clear blockage. Unable to pass here.Sewer all clear on departure. MH to rear of xxx holding in channel on arrival. CCTV d/s but under water. Tried rodding d/s but unable to clear. MH to rear of xxx needs rodding u/s from but there is currently work going on here. CCTV u/s of MH 1704 and obstruction at 4m. Rodded u/s to remove large piece of FOG. | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DW
2024-05-14 | 2024-05-15 | 2024-05-15 | Investigate External Flooding | No flooding from cover in rear garden. Rodded d/s towards xxx to clear blockage. CCTV sewer towards xxx and no issues found with pipework. All clear. | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DW
2025-09-13 | 2025-09-13 | 2025-09-14 | Slow Moving External Flooding | Arrived on site to no flooding and lifted MH1707 which was full, tried to rod DS but unable to clear. Unable to access DS MHs as no answer and next door do not have any MHs. I will nwwk this for tomorrow for someone to access noxxx and see if this is full or clear. Arrived on site for nwwkd external flooding. Lifted cover in rear garden of xxx to find still full, no external flooding in arrival, previous flooding had been cleared up. Unable to lift d/s m/h at xxx due to being buried under extension. Lifted cover in rear garden of xxx to find clear. Cctv u/s 5m to find soft blockage, Rodded u/s to clear. Cctv u/s from same m/h 13m to customerxstack to find clear. Cctv 20m d/s, all clear. Returned to customer m/h and washed down chamber. Facilities tested, all fine | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DW
2025-09-28 | 2025-09-29 | 2025-09-29 | REPEAT FLAG - Fast Moving External Flood | arrived at customers to find no external flooding coming from mh1707 unable to access any ds properties so parked job and attended later, on reatendance lifted mh2075 which was full, then lifted ds mh 2700 which was clear rodded ds from full mh to clear blockage. Once cleared surveyed 100mm fws from mh 2075 20mts ds to mh 2700 and 14mts us to mh 1707 all clear. | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DW
2026-03-04 | 2026-03-05 | 2026-03-05 | Investigate Loss of WC Facility | Arrived on site for loss of facilities. Lifted MH in garden of customers house to find empty. Cctv d/s approx 4m but could not pass any further. Rodded d/s to clear through unknown blockage. Customer stated she had landlord over yesterday who cleared debris/stone out line. Asked customer to test facilities which are now working. This is private as within boundary. Updated customer and spoke with landlord via phone to inform of private issue and this line is not aw responsibility. | Nunnery Street | Castle Hedingham | HALSTEAD | CO9 3DR